## Sheet1
| For 1 case | For 5 cases | For 10 cases
Instruments
Ring Forceps (Li ring forceps with 3.5mm ring) | 1 | 5 | 5
Dissecting Forceps (Li dissecting forceps with sharp point) | 1 | 5 | 5
Surgical Scissors (any good quality surgical scissors) | 1 | 5 | 5
Mosquito Forceps (fine tipped) | 1 | 5 | 5
Thermocautery Handles (Walsh or Bovie, for example) | 1 | 2 | 5
Disposibles
Exam Gloves (non-sterile exam gloves, in sizes appropriate for provider) | 1.2 pairs | 6 pair | 12 pairs
Cleaning Solution for skin (chlorhexidine or povidone-iodine, for example | approx 5cc | 1 bottle , 946 ml | 1 bottle , 946 ml
Surgical razors for shaving scrotal hair | occasionally 1 | 1 | 2
Sterile Gloves (in sizes appropriate for provider, for example size 7) | 1.2 pairs | 6 pair | 12 pair
Sterile Surgical Fields, fenestrated | 1.2 | 6 | 11
Sterile Surgical Fields, non-fenestrated | 1.2 | 6 | 11
Lidocaine, 2% without epinephrine | 3 cc | 1 bottle 50cc | 1 bottle 50cc
Syringes, 3cc | 1.2 | 6 | 11
Needles, 18 gauge (to fill 3cc syringes with lidocaine) | 1.2 | 6 | 11
Needles, 30 gauge (for injecting lidocaine) | 1.2 | 6 | 11
Alcohol for cleaning skin before injection | 1cc | 1 bottle, 946 ml | 1 bottle, 946 ml
Cotton Balls for alcohol | 1.2 | 6 | 11
Sheathes for thermocautery handles | 1.1 | 6 | 11
Batteries for thermocautery | 3 AA | 6 AA | 6 AA
Sterile Gauze (3x3 or 4x4, can be in sterile packets or sterilized in autoclave) | 2.1 | 12 | 22
Thermocautery TIps ( that fit the handles, Walsh or Bovie, for example) | 1 | 5 | 5
Absorbable Suture (3-0 Vicryl or 3-0 Polysorb) | 1.2 | 6 | 11
Skin Tape for taping gauze to skin after procedure | approx 10cm | 1 roll | 1 roll
Autoclave envelopes or wraps | 1.2 | 6 | 11
Equipment for Clinic
Procedure table for procedure room | 1 | 1 | 1
Light for procedure room | 1 | 1 | 1
Autoclave | 1 | 1 | 1
Small Brush for cleaning instruments before autoclaving | 1 | 1 | 1
Soap or detergent for cleaning instruments | 1 bottle | 1 bottle | 1 bottle
Decontaminating solution for instruments (javelle water or benzalkonium chloride solution, for example) | 1 bottle | 1 bottle | 1 bottle
Reclining chair or exam table for relaxing after procedure | 1 | 1 | 1
Paper for printing aftercare instructions, op note, etc | 3 sheets | 1 packet | 1 packet